## Sheet1
Specification: 100W high power solar panel
Related power	100W
Open circuit voltage (Voc)	21.6V
Max power voltage (Vpm)	18V
Short circuit current (Isc)	6.11A
Working current (Iop)	5.55A
Output Tolerance	±3%
Temperate coefficient of Isc	(010+/- 0.01 )%/ ℃
Temperate coefficient of Voc	- (0.38 +/-0.01 )%/ ℃
Temperate coefficient of power Voc	-0.47%/℃
Temperature range	-40℃to +80℃
Frame	Heavy duty aluminum
Guarantee of power	90% with in 10 years 80% with in 25 years
Kind of glass and its thickness	Low Iron, high transparency tempered glass of 3.2mm
SLA Battery Voltage	12V
Size	957*665*35mm(37.7"x26.2"x1.4")

Specification: Lamp
Meterial:	Aluminum Alloy plate+COB Led
Input Voltage:	DC12-24V
Power:	10W
Light Color:	Warm White (3000-3500K)
	Pure White (6000-6500K)
Luminous flux:	1000LM
Size:	12cm x 3.6cm - 4.72inch x 1.41inch